## 79%
from | BB_pp_GT02 | BB_pp_MSD | BB_pp_MSD2 | BB_pp_LSD | BB_pp_biomass | BB_shortage | BB_bus_el | BB_bus_el | BB_utility_scale_wind | BB_utility_scale_solar | BB_distributed_scale_solar | BB_shortage | BB_bus_el | BB_bus_el | BB_storage_battery_lithium_ion | BB_storage_battery_lithium_ion | BB_bus_el | BB_storage_pumped_hydro | BB_storage_pumped_hydro
to | BB_bus_el | BB_bus_el | BB_bus_el | BB_bus_el | BB_bus_el | BB_bus_el | BB_load | BB_excess | BB_bus_el | BB_bus_el | BB_bus_el | BB_bus_el | BB_storage_battery_lithium_ion | BB_storage_battery_lithium_ion | BB_bus_el | nan | BB_storage_pumped_hydro | BB_bus_el | nan
type | flow | flow | flow | flow | flow | flow | flow | flow | flow | flow | flow | flow | flow | flow | flow | capacity | flow | flow | capacity
from | BB_pp_GT02 | BB_pp_MSD | BB_pp_MSD2 | BB_pp_LSD | BB_pp_biomass | BB_shortage | BB_bus_el | BB_bus_el | BB_utility_scale_wind | BB_utility_scale_solar | BB_distributed_scale_solar | BB_shortage | BB_bus_el |  | BB_storage_battery_lithium_ion | BB_storage_battery_lithium_ion | BB_bus_el | BB_storage_pumped_hydro | BB_storage_pumped_hydro | Excess Power | Battery_Storage Lit_ion discharging | Battery_Storage Lit_ion charging
2014-01-01 00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 124.3322 | 0 | 91.605 | 0 | 0 | 0 | 0 | 0 | 32.7272 | 117.2728 | 1e-06 | 0 | 0.000295 | 0 | 32.7272 | 0
2014-01-01 01:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 119.816 | 0 | 85.405 | 0 | 0 | 0 | 0 | 0 | 34.411 | 82.8618 | 1e-06 | 0 | 0.000296 | 0 | 34.411 | 0
2014-01-01 02:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 119.4503 | 0 | 82.305 | 0 | 0 | 0 | 0 | 0 | 37.1453 | 45.7165 | 1e-06 | 0 | 0.000297 | 0 | 37.1453 | 0
2014-01-01 03:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 116.2689 | 0 | 83.39 | 0 | 0 | 0 | 0 | 0 | 32.8789 | 12.8376 | 1e-06 | 0 | 0.000298 | 0 | 32.8789 | 0
2014-01-01 04:00:00 | 0 | 0 | 0 | 0 | 8.9565 | 0 | 113.7091 | 0 | 91.915 | 0 | 0 | 0 | 0 | 0 | 12.8376 | 0 | 1e-06 | 0 | 0.000299 | 0 | 12.8376 | 0
2014-01-01 05:00:00 | 0 | 0 | 0 | 0 | 13.3942 | 0 | 116.1592 | 0 | 102.765 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.0003 | 0 | 0 | 0
2014-01-01 06:00:00 | 0 | 0 | 0 | 0 | 5.3491 | 0 | 114.9341 | 0 | 109.585 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000301 | 0 | 0 | 0
2014-01-01 07:00:00 | 0 | 0 | 0 | 0 | 13.6127 | 0 | 129.7077 | 0 | 112.685 | 2.42 | 0.99 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000302 | 0 | 0 | 0
2014-01-01 08:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 143.6403 | 14.9247 | 121.21 | 26.51 | 10.845 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000303 | -14.9247 | 0 | 0
2014-01-01 09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 150.3505 | 48.6695 | 130.2 | 48.84 | 19.98 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000304 | -48.6695 | 0 | 0
2014-01-01 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 153.404 | 75.221 | 136.4 | 65.45 | 26.775 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000305 | -75.221 | 0 | 0
2014-01-01 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 152.5446 | 93.1304 | 140.12 | 74.91 | 30.645 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000306 | -93.1304 | 0 | 0
2014-01-01 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 152.3069 | 100.3431 | 141.67 | 78.76 | 32.22 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000307 | -100.3431 | 0 | 0
2014-01-01 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 150.5882 | 98.4968 | 141.205 | 76.56 | 31.32 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000308 | -98.4968 | 0 | 0
2014-01-01 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 148.5221 | 95.4479 | 139.965 | 73.81 | 30.195 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000309 | -95.4479 | 0 | 0
2014-01-01 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 145.5967 | 72.1729 | 137.795 | 63.47 | 25.965 | 0 | 9.4604 | 9.4604 | 0 | 9.4604 | 1e-06 | 0 | 0.00031 | -72.1729 | 0 | 9.4604
2014-01-01 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 142.0495 | 0 | 135.16 | 45.65 | 18.675 | 0 | 57.4355 | 57.4355 | 0 | 66.8959 | 1e-06 | 0 | 0.000311 | 0 | 0 | 57.4355
2014-01-01 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 143.2746 | 0 | 133.145 | 23.43 | 9.585 | 0 | 22.8854 | 22.8854 | 0 | 89.7813 | 1e-06 | 0 | 0.000312 | 0 | 0 | 22.8854
2014-01-01 18:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 161.705 | 0 | 132.215 | 1.54 | 0.63 | 0 | 0 | 0 | 27.32 | 62.4613 | 1e-06 | 0 | 0.000313 | 0 | 27.32 | 0
2014-01-01 19:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 160.4982 | 0 | 132.99 | 0 | 0 | 0 | 0 | 0 | 27.5082 | 34.9531 | 1e-06 | 0 | 0.000314 | 0 | 27.5082 | 0
2014-01-01 20:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 154.3913 | 0 | 134.23 | 0 | 0 | 0 | 0 | 0 | 20.1613 | 14.7918 | 1e-06 | 0 | 0.000315 | 0 | 20.1613 | 0
2014-01-01 21:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 144.6093 | 0 | 134.54 | 0 | 0 | 0 | 0 | 0 | 10.0693 | 4.7224 | 1e-06 | 0 | 0.000316 | 0 | 10.0693 | 0
2014-01-01 22:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 139.7274 | 0 | 135.005 | 0 | 0 | 0 | 0 | 0 | 4.7224 | 0 | 1e-06 | 0 | 0.000317 | 0 | 4.7224 | 0
2014-01-01 23:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 131.5361 | 3.9339 | 135.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000318 | -3.9339 | 0 | 0
2014-01-02 00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 124.3322 | 11.4478 | 135.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000319 | -11.4478 | 0 | 0
2014-01-02 01:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 119.816 | 15.964 | 135.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.00032 | -15.964 | 0 | 0
2014-01-02 02:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 119.4503 | 15.5547 | 135.005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000321 | -15.5547 | 0 | 0
2014-01-02 03:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 116.2689 | 16.7211 | 132.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000322 | -16.7211 | 0 | 0
2014-01-02 04:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 113.7091 | 17.4209 | 131.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000323 | -17.4209 | 0 | 0
2014-01-02 05:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 116.1592 | 14.1958 | 130.355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000324 | -14.1958 | 0 | 0
2014-01-02 06:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 114.9341 | 15.8859 | 130.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000325 | -15.8859 | 0 | 0
2014-01-02 07:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 129.7077 | 5.9173 | 131.905 | 2.64 | 1.08 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000326 | -5.9173 | 0 | 0
2014-01-02 08:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 143.6403 | 32.2847 | 134.85 | 29.15 | 11.925 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000327 | -32.2847 | 0 | 0
2014-01-02 09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 150.3505 | 60.2945 | 137.64 | 51.81 | 21.195 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000328 | -60.2945 | 0 | 0
2014-01-02 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 153.404 | 81.266 | 138.88 | 67.98 | 27.81 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000329 | -81.266 | 0 | 0
2014-01-02 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 152.5446 | 95.6104 | 138.26 | 77.99 | 31.905 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.00033 | -95.6104 | 0 | 0
2014-01-02 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 152.3069 | 100.6531 | 136.245 | 82.83 | 33.885 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000331 | -100.6531 | 0 | 0
2014-01-02 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 150.5882 | 99.1168 | 132.835 | 82.94 | 33.93 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000332 | -99.1168 | 0 | 0
2014-01-02 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 148.5221 | 60.9021 | 127.72 | 77.88 | 31.86 | 0 | 28.0358 | 28.0358 | 0 | 28.0358 | 1e-06 | 0 | 0.000333 | -60.9021 | 0 | 28.0358
2014-01-02 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 145.5967 | 0 | 121.52 | 67.43 | 27.585 | 0 | 70.9383 | 70.9383 | 0 | 98.9741 | 1e-06 | 0 | 0.000334 | 0 | 0 | 70.9383
2014-01-02 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 142.0495 | 0 | 115.63 | 50.82 | 20.79 | 0 | 45.1905 | 45.1905 | 0 | 144.1646 | 1e-06 | 0 | 0.000335 | 0 | 0 | 45.1905
2014-01-02 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 143.2746 | 0 | 110.825 | 27.17 | 11.115 | 0 | 5.8354 | 5.8354 | 0 | 150 | 1e-06 | 0 | 0.000336 | 0 | 0 | 5.8354
2014-01-02 18:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 161.705 | 0 | 109.12 | 1.98 | 0.81 | 0 | 0 | 0 | 31.795 | 118.205 | 1e-06 | 0 | 0.000337 | 0 | 31.795 | 0
2014-01-02 19:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 160.4982 | 0 | 109.43 | 0 | 0 | 0 | 0 | 0 | 33.0682 | 85.1368 | 1e-06 | 0 | 0.000338 | 0 | 33.0682 | 0
2014-01-02 20:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 154.3913 | 0 | 108.035 | 0 | 0 | 0 | 0 | 0 | 28.3563 | 56.7804 | 1e-06 | 0 | 0.000339 | 0 | 28.3563 | 0
2014-01-02 21:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 144.6093 | 0 | 106.795 | 0 | 0 | 0 | 0 | 0 | 19.8143 | 36.9661 | 1e-06 | 0 | 0.00034 | 0 | 19.8143 | 0
2014-01-02 22:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 139.7274 | 0 | 105.865 | 0 | 0 | 0 | 0 | 0 | 15.8624 | 21.1037 | 1e-06 | 0 | 0.000341 | 0 | 15.8624 | 0
2014-01-02 23:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 131.5361 | 0 | 105.09 | 0 | 0 | 0 | 0 | 0 | 8.4461 | 12.6575 | 1e-06 | 0 | 0.000342 | 0 | 8.4461 | 0
2014-01-03 00:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 124.3322 | 0 | 104.16 | 0 | 0 | 0 | 0 | 0 | 2.1722 | 10.4853 | 1e-06 | 0 | 0.000343 | 0 | 2.1722 | 0
2014-01-03 01:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 119.816 | 0 | 103.385 | 0 | 0 | 0 | 1.569 | 1.569 | 0 | 12.0543 | 1e-06 | 0 | 0.000344 | 0 | 0 | 1.569
2014-01-03 02:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 119.4503 | 0 | 101.835 | 0 | 0 | 0 | 0.38467 | 0.38467 | 0 | 12.439 | 1e-06 | 0 | 0.000345 | 0 | 0 | 0.38467
2014-01-03 03:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 116.2689 | 0 | 97.805 | 0 | 0 | 0 | 0 | 0 | 0.46389 | 11.9751 | 1e-06 | 0 | 0.000346 | 0 | 0.46389 | 0
2014-01-03 04:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 113.7091 | 0 | 91.605 | 0 | 0 | 0 | 0 | 0 | 4.1041 | 7.871 | 1e-06 | 0 | 0.000347 | 0 | 4.1041 | 0
2014-01-03 05:00:00 | 0 | 0 | 4.8832 | 0 | 18 | 0 | 116.1592 | 0 | 85.405 | 0 | 0 | 0 | 0 | 0 | 7.871 | 0 | 1e-06 | 0 | 0.000348 | 0 | 7.871 | 0
2014-01-03 06:00:00 | 0 | 0 | 14.6291 | 0 | 18 | 0 | 114.9341 | 0 | 82.305 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000349 | 0 | 0 | 0
2014-01-03 07:00:00 | 0 | 0 | 24.1327 | 0 | 18 | 0 | 129.7077 | 0 | 83.39 | 2.97 | 1.215 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.00035 | 0 | 0 | 0
2014-01-03 08:00:00 | 0 | 0 | 0 | 0 | 11.4253 | 0 | 143.6403 | 0 | 91.915 | 28.6 | 11.7 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000351 | 0 | 0 | 0
2014-01-03 09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 150.3505 | 27.5895 | 102.765 | 53.35 | 21.825 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000352 | -27.5895 | 0 | 0
2014-01-03 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 153.404 | 52.746 | 109.585 | 68.53 | 28.035 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000353 | -52.746 | 0 | 0
2014-01-03 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 152.5446 | 72.6704 | 112.685 | 79.86 | 32.67 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000354 | -72.6704 | 0 | 0
2014-01-03 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 152.3069 | 80.8131 | 113.77 | 84.7 | 34.65 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000355 | -80.8131 | 0 | 0
2014-01-03 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 150.5882 | 82.8418 | 115.32 | 83.82 | 34.29 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000356 | -82.8418 | 0 | 0
2014-01-03 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 148.5221 | 66.4821 | 116.715 | 77.55 | 31.725 | 0 | 10.9858 | 10.9858 | 0 | 10.9858 | 1e-06 | 0 | 0.000357 | -66.4821 | 0 | 10.9858
2014-01-03 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 145.5967 | 0 | 118.73 | 66.77 | 27.315 | 0 | 67.2183 | 67.2183 | 0 | 78.2041 | 1e-06 | 0 | 0.000358 | 0 | 0 | 67.2183
2014-01-03 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 142.0495 | 0 | 120.9 | 51.92 | 21.24 | 0 | 52.0105 | 52.0105 | 0 | 130.2146 | 1e-06 | 0 | 0.000359 | 0 | 0 | 52.0105
2014-01-03 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 143.2746 | 0 | 122.295 | 28.93 | 11.835 | 0 | 19.7854 | 19.7854 | 0 | 150 | 1e-06 | 0 | 0.00036 | 0 | 0 | 19.7854
2014-01-03 18:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 161.705 | 0 | 122.915 | 2.31 | 0.945 | 0 | 0 | 0 | 35.535 | 114.465 | 1e-06 | 0 | 0.000361 | 0 | 35.535 | 0
2014-01-03 19:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 160.4982 | 0 | 123.38 | 0 | 0 | 0 | 0 | 0 | 37.1182 | 77.3468 | 1e-06 | 0 | 0.000362 | 0 | 37.1182 | 0
2014-01-03 20:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 154.3913 | 0 | 123.225 | 0 | 0 | 0 | 0 | 0 | 31.1663 | 46.1804 | 1e-06 | 0 | 0.000363 | 0 | 31.1663 | 0
2014-01-03 21:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 144.6093 | 0 | 123.535 | 0 | 0 | 0 | 0 | 0 | 21.0743 | 25.1061 | 1e-06 | 0 | 0.000364 | 0 | 21.0743 | 0
2014-01-03 22:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 139.7274 | 0 | 124 | 0 | 0 | 0 | 0 | 0 | 15.7274 | 9.3787 | 1e-06 | 0 | 0.000365 | 0 | 15.7274 | 0
2014-01-03 23:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 131.5361 | 0 | 124.155 | 0 | 0 | 0 | 0 | 0 | 7.3811 | 1.9975 | 1e-06 | 0 | 0.000366 | 0 | 7.3811 | 0
2014-01-04 00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 121.4067 | 0 | 123.845 | 0 | 0 | 0 | 2.4383 | 2.4383 | 0 | 4.4358 | 1e-06 | 0 | 0.000367 | 0 | 0 | 2.4383
2014-01-04 01:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 118.847 | 0 | 123.38 | 0 | 0 | 0 | 4.533 | 4.533 | 0 | 8.9688 | 1e-06 | 0 | 0.000368 | 0 | 0 | 4.533
2014-01-04 02:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 114.5685 | 0 | 123.225 | 0 | 0 | 0 | 8.6565 | 8.6565 | 0 | 17.6254 | 1e-06 | 0 | 0.000369 | 0 | 0 | 8.6565
2014-01-04 03:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 114.5685 | 0 | 122.605 | 0 | 0 | 0 | 8.0365 | 8.0365 | 0 | 25.6619 | 1e-06 | 0 | 0.00037 | 0 | 0 | 8.0365
2014-01-04 04:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 117.7499 | 0 | 120.9 | 0 | 0 | 0 | 3.1501 | 3.1501 | 0 | 28.812 | 1e-06 | 0 | 0.000371 | 0 | 0 | 3.1501
2014-01-04 05:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 128.9764 | 0 | 119.66 | 0 | 0 | 0 | 0 | 0 | 9.3164 | 19.4956 | 1e-06 | 0 | 0.000372 | 0 | 9.3164 | 0
2014-01-04 06:00:00 | 0 | 0 | 0 | 0 | 11.7531 | 0 | 137.1677 | 0 | 119.04 | 0 | 0 | 0 | 0 | 0 | 6.3746 | 13.121 | 1e-06 | 0 | 0.000373 | 0 | 6.3746 | 0
2014-01-04 07:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 154.501 | 0 | 118.11 | 3.74 | 1.53 | 0 | 0 | 0 | 13.121 | 0 | 1e-06 | 0 | 0.000374 | 0 | 13.121 | 0
2014-01-04 08:00:00 | 0 | 0 | 0 | 0 | 4.3293 | 0 | 170.0243 | 0 | 118.575 | 33.44 | 13.68 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000375 | 0 | 0 | 0
2014-01-04 09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 177.3379 | 22.7671 | 121.52 | 55.77 | 22.815 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000376 | -22.7671 | 0 | 0
2014-01-04 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 179.788 | 45.892 | 124.93 | 71.5 | 29.25 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000377 | -45.892 | 0 | 0
2014-01-04 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 181.013 | 59.8569 | 125.86 | 81.62 | 33.39 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000378 | -59.8569 | 0 | 0
2014-01-04 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 181.013 | 66.832 | 126.015 | 86.46 | 35.37 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000379 | -66.832 | 0 | 0
2014-01-04 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 182.8415 | 64.2285 | 125.86 | 86.02 | 35.19 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.00038 | -64.2285 | 0 | 0
2014-01-04 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 178.563 | 18.5092 | 126.945 | 80.41 | 32.895 | 0 | 43.1779 | 43.1779 | 0 | 43.1779 | 1e-06 | 0 | 0.000381 | -18.5092 | 0 | 43.1779
2014-01-04 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 173.6811 | 0 | 128.185 | 69.63 | 28.485 | 0 | 52.6189 | 52.6189 | 0 | 95.7968 | 1e-06 | 0 | 0.000382 | 0 | 0 | 52.6189
2014-01-04 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 161.3393 | 0 | 128.65 | 52.58 | 21.51 | 0 | 41.4007 | 41.4007 | 0 | 137.1974 | 1e-06 | 0 | 0.000383 | 0 | 0 | 41.4007
2014-01-04 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 156.4574 | 0 | 128.495 | 28.93 | 11.835 | 0 | 12.8026 | 12.8026 | 0 | 150 | 1e-06 | 0 | 0.000384 | 0 | 0 | 12.8026
2014-01-04 18:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 173.4434 | 0 | 128.03 | 2.42 | 0.99 | 0 | 0 | 0 | 42.0034 | 107.9966 | 1e-06 | 0 | 0.000385 | 0 | 42.0034 | 0
2014-01-04 19:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 170.6277 | 0 | 128.495 | 0 | 0 | 0 | 0 | 0 | 42.1327 | 65.8639 | 1e-06 | 0 | 0.000386 | 0 | 42.1327 | 0
2014-01-04 20:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 162.0707 | 0 | 130.82 | 0 | 0 | 0 | 0 | 0 | 31.2507 | 34.6133 | 1e-06 | 0 | 0.000387 | 0 | 31.2507 | 0
2014-01-04 21:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 150.4785 | 0 | 133.455 | 0 | 0 | 0 | 0 | 0 | 17.0235 | 17.5897 | 1e-06 | 0 | 0.000388 | 0 | 17.0235 | 0
2014-01-04 22:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 137.6431 | 0 | 135.16 | 0 | 0 | 0 | 0 | 0 | 2.4831 | 15.1067 | 1e-06 | 0 | 0.000389 | 0 | 2.4831 | 0
2014-01-04 23:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 130.9328 | 0 | 135.315 | 0 | 0 | 0 | 4.3822 | 4.3822 | 0 | 19.4889 | 1e-06 | 0 | 0.00039 | 0 | 0 | 4.3822
2014-01-05 00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 121.4067 | 0 | 134.695 | 0 | 0 | 0 | 13.2883 | 13.2883 | 0 | 32.7772 | 1e-06 | 0 | 0.000391 | 0 | 0 | 13.2883
2014-01-05 01:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 118.847 | 0 | 133.61 | 0 | 0 | 0 | 14.763 | 14.763 | 0 | 47.5402 | 1e-06 | 0 | 0.000392 | 0 | 0 | 14.763
2014-01-05 02:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 114.5685 | 0 | 130.665 | 0 | 0 | 0 | 16.0965 | 16.0965 | 0 | 63.6368 | 1e-06 | 0 | 0.000393 | 0 | 0 | 16.0965
2014-01-05 03:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 114.5685 | 0 | 123.69 | 0 | 0 | 0 | 9.1215 | 9.1215 | 0 | 72.7583 | 1e-06 | 0 | 0.000394 | 0 | 0 | 9.1215
2014-01-05 04:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 117.7499 | 0 | 113.615 | 0 | 0 | 0 | 0 | 0 | 4.1349 | 68.6234 | 1e-06 | 0 | 0.000395 | 0 | 4.1349 | 0
2014-01-05 05:00:00 | 0 | 0 | 0 | 0 | 9.711 | 0 | 128.9764 | 0 | 105.09 | 0 | 0 | 0 | 0 | 0 | 14.1754 | 54.448 | 1e-06 | 0 | 0.000396 | 0 | 14.1754 | 0
2014-01-05 06:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 137.1677 | 0 | 101.68 | 0 | 0 | 0 | 0 | 0 | 17.4877 | 36.9603 | 1e-06 | 0 | 0.000397 | 0 | 17.4877 | 0
2014-01-05 07:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 154.501 | 0 | 101.99 | 2.42 | 0.99 | 0 | 0 | 0 | 31.101 | 5.8593 | 1e-06 | 0 | 0.000398 | 0 | 31.101 | 0
2014-01-05 08:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 170.0243 | 0 | 106.02 | 28.49 | 11.655 | 0 | 0 | 0 | 5.8593 | 0 | 1e-06 | 0 | 0.000399 | 0 | 5.8593 | 0
2014-01-05 09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 177.3379 | 7.2671 | 112.53 | 51.15 | 20.925 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.0004 | -7.2671 | 0 | 0
2014-01-05 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 179.788 | 32.717 | 117.025 | 67.76 | 27.72 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000401 | -32.717 | 0 | 0
2014-01-05 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 181.013 | 47.4569 | 118.265 | 78.21 | 31.995 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000402 | -47.4569 | 0 | 0
2014-01-05 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 181.013 | 37.7221 | 117.955 | 82.5 | 33.75 | 0 | 15.4699 | 15.4699 | 0 | 15.4699 | 1e-06 | 0 | 0.000403 | -37.7221 | 0 | 15.4699
2014-01-05 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 182.8415 | 0 | 115.32 | 82.17 | 33.615 | 0 | 48.2635 | 48.2635 | 0 | 63.7334 | 1e-06 | 0 | 0.000404 | 0 | 0 | 48.2635
2014-01-05 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 178.563 | 0 | 112.53 | 76.23 | 31.185 | 0 | 41.382 | 41.382 | 0 | 105.1154 | 1e-06 | 0 | 0.000405 | 0 | 0 | 41.382
2014-01-05 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 173.6811 | 0 | 111.29 | 64.9 | 26.55 | 0 | 29.0589 | 29.0589 | 0 | 134.1743 | 1e-06 | 0 | 0.000406 | 0 | 0 | 29.0589
2014-01-05 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 161.3393 | 0 | 108.965 | 48.4 | 19.8 | 0 | 15.8257 | 15.8257 | 0 | 150 | 1e-06 | 0 | 0.000407 | 0 | 0 | 15.8257
2014-01-05 17:00:00 | 0 | 0 | 0 | 0 | 13.7024 | 0 | 156.4574 | 0 | 108.81 | 24.09 | 9.855 | 0 | 0 | 0 | 0 | 150 | 1e-06 | 0 | 0.000408 | 0 | 0 | 0
2014-01-05 18:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 173.4434 | 0 | 111.445 | 1.87 | 0.765 | 0 | 0 | 0 | 41.3634 | 108.6366 | 1e-06 | 0 | 0.000409 | 0 | 41.3634 | 0
2014-01-05 19:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 170.6277 | 0 | 114.855 | 0 | 0 | 0 | 0 | 0 | 37.7727 | 70.8639 | 1e-06 | 0 | 0.00041 | 0 | 37.7727 | 0
2014-01-05 20:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 162.0707 | 0 | 116.095 | 0 | 0 | 0 | 0 | 0 | 27.9757 | 42.8883 | 1e-06 | 0 | 0.000411 | 0 | 27.9757 | 0
2014-01-05 21:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 150.4785 | 0 | 117.49 | 0 | 0 | 0 | 0 | 0 | 14.9885 | 27.8997 | 1e-06 | 0 | 0.000412 | 0 | 14.9885 | 0
2014-01-05 22:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 137.6431 | 0 | 120.59 | 0 | 0 | 0 | 0.94695 | 0.94695 | 0 | 28.8467 | 1e-06 | 0 | 0.000413 | 0 | 0 | 0.94695
2014-01-05 23:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 130.9328 | 0 | 121.675 | 0 | 0 | 0 | 8.7422 | 8.7422 | 0 | 37.5889 | 1e-06 | 0 | 0.000414 | 0 | 0 | 8.7422
2014-01-06 00:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 121.4067 | 0 | 119.04 | 0 | 0 | 0 | 15.6333 | 15.6333 | 0 | 53.2222 | 1e-06 | 0 | 0.000415 | 0 | 0 | 15.6333
2014-01-06 01:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 118.847 | 0 | 113.77 | 0 | 0 | 0 | 12.923 | 12.923 | 0 | 66.1452 | 1e-06 | 0 | 0.000416 | 0 | 0 | 12.923
2014-01-06 02:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 114.5685 | 0 | 108.655 | 0 | 0 | 0 | 12.0865 | 12.0865 | 0 | 78.2318 | 1e-06 | 0 | 0.000417 | 0 | 0 | 12.0865
2014-01-06 03:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 114.5685 | 0 | 104.78 | 0 | 0 | 0 | 8.2115 | 8.2115 | 0 | 86.4433 | 1e-06 | 0 | 0.000418 | 0 | 0 | 8.2115
2014-01-06 04:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 117.7499 | 0 | 100.13 | 0 | 0 | 0 | 0.3801 | 0.3801 | 0 | 86.8234 | 1e-06 | 0 | 0.000419 | 0 | 0 | 0.3801
2014-01-06 05:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 128.9764 | 0 | 93.62 | 0 | 0 | 0 | 0 | 0 | 17.3564 | 69.467 | 1e-06 | 0 | 0.00042 | 0 | 17.3564 | 0
2014-01-06 06:00:00 | 0 | 0 | 0 | 0 | 18 | 0 | 137.1677 | 0 | 91.45 | 0 | 0 | 0 | 0 | 0 | 27.7177 | 41.7494 | 1e-06 | 0 | 0.000421 | 0 | 27.7177 | 0
2014-01-06 07:00:00 | 0 | 0 | 1.9067 | 0 | 18 | 0 | 154.501 | 0 | 88.97 | 2.75 | 1.125 | 0 | 0 | 0 | 41.7494 | 0 | 1e-06 | 0 | 0.000422 | 0 | 41.7494 | 0
2014-01-06 08:00:00 | 0 | 0 | 26.6293 | 0 | 18 | 0 | 170.0243 | 0 | 85.715 | 28.16 | 11.52 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000423 | 0 | 0 | 0
2014-01-06 09:00:00 | 0 | 0 | 0 | 0 | 12.1079 | 0 | 177.3379 | 0 | 91.76 | 52.14 | 21.33 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000424 | 0 | 0 | 0
2014-01-06 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 179.788 | 17.062 | 101.835 | 67.43 | 27.585 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000425 | -17.062 | 0 | 0
2014-01-06 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 181.013 | 38.4669 | 110.515 | 77.33 | 31.635 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000426 | -38.4669 | 0 | 0
2014-01-06 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 181.013 | 51.0219 | 116.56 | 81.95 | 33.525 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000427 | -51.0219 | 0 | 0
2014-01-06 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 182.8415 | 49.4127 | 119.66 | 81.62 | 33.39 | 0 | 2.4158 | 2.4158 | 0 | 2.4158 | 1e-06 | 0 | 0.000428 | -49.4127 | 0 | 2.4158
2014-01-06 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 178.563 | 0 | 124 | 76.45 | 31.275 | 0 | 53.162 | 53.162 | 0 | 55.5779 | 1e-06 | 0 | 0.000429 | 0 | 0 | 53.162
2014-01-06 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 173.6811 | 0 | 127.875 | 66.22 | 27.09 | 0 | 47.5039 | 47.5039 | 0 | 103.0817 | 1e-06 | 0 | 0.00043 | 0 | 0 | 47.5039
2014-01-06 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 161.3393 | 0 | 129.425 | 48.84 | 19.98 | 0 | 36.9057 | 36.9057 | 0 | 139.9874 | 1e-06 | 0 | 0.000431 | 0 | 0 | 36.9057
2014-01-06 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 156.4574 | 0 | 130.2 | 25.74 | 10.53 | 0 | 10.0126 | 10.0126 | 0 | 150 | 1e-06 | 0 | 0.000432 | 0 | 0 | 10.0126
2014-01-06 18:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 173.4434 | 0 | 130.82 | 1.87 | 0.765 | 0 | 0 | 0 | 39.9884 | 110.0116 | 1e-06 | 0 | 0.000433 | 0 | 39.9884 | 0
2014-01-06 19:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 170.6277 | 0 | 130.045 | 0 | 0 | 0 | 0 | 0 | 40.5827 | 69.4289 | 1e-06 | 0 | 0.000434 | 0 | 40.5827 | 0
2014-01-06 20:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 162.0707 | 0 | 128.805 | 0 | 0 | 0 | 0 | 0 | 33.2657 | 36.1633 | 1e-06 | 0 | 0.000435 | 0 | 33.2657 | 0
2014-01-06 21:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 150.4785 | 0 | 127.1 | 0 | 0 | 0 | 0 | 0 | 23.3785 | 12.7847 | 1e-06 | 0 | 0.000436 | 0 | 23.3785 | 0
2014-01-06 22:00:00 | 0 | 0 | 0 | 0 | 0.083322 | 0 | 137.6431 | 0 | 124.775 | 0 | 0 | 0 | 0 | 0 | 12.7847 | 0 | 1e-06 | 0 | 0.000437 | 0 | 12.7847 | 0
2014-01-06 23:00:00 | 0 | 0 | 0 | 0 | 4.7628 | 0 | 130.9328 | 0 | 126.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000438 | 0 | 0 | 0
2014-01-07 00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 121.4067 | 0 | 128.96 | 0 | 0 | 0 | 7.5533 | 7.5533 | 0 | 7.5533 | 1e-06 | 0 | 0.000439 | 0 | 0 | 7.5533
2014-01-07 01:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 118.847 | 0 | 131.13 | 0 | 0 | 0 | 12.283 | 12.283 | 0 | 19.8363 | 1e-06 | 0 | 0.00044 | 0 | 0 | 12.283
2014-01-07 02:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 114.5685 | 0 | 130.51 | 0 | 0 | 0 | 15.9415 | 15.9415 | 0 | 35.7779 | 1e-06 | 0 | 0.000441 | 0 | 0 | 15.9415
2014-01-07 03:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 114.5685 | 0 | 127.875 | 0 | 0 | 0 | 13.3065 | 13.3065 | 0 | 49.0844 | 1e-06 | 0 | 0.000442 | 0 | 0 | 13.3065
2014-01-07 04:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 117.7499 | 0 | 124.775 | 0 | 0 | 0 | 7.0251 | 7.0251 | 0 | 56.1095 | 1e-06 | 0 | 0.000443 | 0 | 0 | 7.0251
2014-01-07 05:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 128.9764 | 0 | 121.83 | 0 | 0 | 0 | 0 | 0 | 7.1464 | 48.9631 | 1e-06 | 0 | 0.000444 | 0 | 7.1464 | 0
2014-01-07 06:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 137.1677 | 0 | 119.66 | 0 | 0 | 0 | 0 | 0 | 17.5077 | 31.4555 | 1e-06 | 0 | 0.000445 | 0 | 17.5077 | 0
2014-01-07 07:00:00 | 0 | 0 | 0 | 0 | 2.3006 | 0 | 154.501 | 0 | 118.42 | 1.65 | 0.675 | 0 | 0 | 0 | 31.4555 | 0 | 1e-06 | 0 | 0.000446 | 0 | 31.4555 | 0
2014-01-07 08:00:00 | 0 | 0 | 0 | 0 | 13.6293 | 0 | 170.0243 | 0 | 121.83 | 24.53 | 10.035 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000447 | 0 | 0 | 0
2014-01-07 09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 177.3379 | 23.3871 | 127.565 | 51.92 | 21.24 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000448 | -23.3871 | 0 | 0
2014-01-07 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 179.788 | 48.372 | 131.905 | 68.31 | 27.945 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000449 | -48.372 | 0 | 0
2014-01-07 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 181.013 | 65.1269 | 135.16 | 78.76 | 32.22 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.00045 | -65.1269 | 0 | 0
2014-01-07 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 181.013 | 74.427 | 137.175 | 83.93 | 34.335 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000451 | -74.427 | 0 | 0
2014-01-07 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 182.8415 | 73.8385 | 138.57 | 83.82 | 34.29 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 0 | 0.000452 | -73.8385 | 0 | 0
2014-01-07 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 178.563 | 55.7092 | 139.345 | 78.87 | 32.265 | 0 | 16.2079 | 16.2079 | 0 | 16.2079 | 1e-06 | 0 | 0.000453 | -55.7092 | 0 | 16.2079
2014-01-07 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 173.6811 | 0 | 139.655 | 67.98 | 27.81 | 0 | 61.7639 | 61.7639 | 0 | 77.9718 | 1e-06 | 0 | 0.000454 | 0 | 0 | 61.7639
2014-01-07 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 161.3393 | 0 | 139.345 | 51.26 | 20.97 | 0 | 50.2357 | 50.2357 | 0 | 128.2074 | 1e-06 | 0 | 0.000455 | 0 | 0 | 50.2357
2014-01-07 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 156.4574 | 0 | 138.725 | 28.05 | 11.475 | 0 | 21.7926 | 21.7926 | 0 | 150 | 1e-06 | 0 | 0.000456 | 0 | 0 | 21.7926
2014-01-07 18:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 173.4434 | 0 | 137.64 | 2.42 | 0.99 | 0 | 0 | 0 | 32.3934 | 117.6066 | 1e-06 | 0 | 0.000457 | 0 | 32.3934 | 0
2014-01-07 19:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 170.6277 | 0 | 136.4 | 0 | 0 | 0 | 0 | 0 | 34.2277 | 83.3789 | 1e-06 | 0 | 0.000458 | 0 | 34.2277 | 0
2014-01-07 20:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 162.0707 | 0 | 133.765 | 0 | 0 | 0 | 0 | 0 | 28.3057 | 55.0733 | 1e-06 | 0 | 0.000459 | 0 | 28.3057 | 0
2014-01-07 21:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 150.4785 | 0 | 131.75 | 0 | 0 | 0 | 0 | 0 | 18.7285 | 36.3447 | 1e-06 | 0 | 0.00046 | 0 | 18.7285 | 0
2014-01-07 22:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 137.6431 | 0 | 128.805 | 0 | 0 | 0 | 0 | 0 | 8.8381 | 27.5067 | 1e-06 | 0 | 0.000461 | 0 | 8.8381 | 0
2014-01-07 23:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 130.9328 | 0 | 125.705 | 0 | 0 | 0 | 0 | 0 | 5.2278 | 22.2789 | 1e-06 | 0 | 0.000462 | 0 | 5.2278 | 0
2014-01-08 00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 121.4067 | 0 | 122.605 | 0 | 0 | 0 | 1.1983 | 1.1983 | 0 | 23.4772 | 1e-06 | 0 | 0.000463 | 0 | 0 | 1.1983

## Input sheets
name | bus | cap ref scen |  | source | capacity EE scenario | source | amount | type | profile | carrier
BB_utility_scale_wind | BB_bus_el | 155 |  | irena |  |  |  | volatile | BB_utility_scale_wind | wind
BB_utility_scale_solar | BB_bus_el | 110 |  | irena |  |  |  | volatile | BB_utility_scale_solar | solar
BB_distributed_scale_solar | BB_bus_el | 45 |  | irena |  |  |  | volatile | BB_distributed_scale_solar | solar
BB_pp_MSD | BB_bus_el | 33 |  | irena
BB_pp_LSD | BB_bus_el | 78 |  | irena
BB_pp_GT | BB_bus_el | 11 |  | irena
BB_pp_WHP | BB_bus_el | 2.2
name | bus | marginal_cost |  |  |  |  | capacity | storage_capacity | type | carrier | edges_parameters
BB_pp_GT02 | BB_bus_el | 68.471 |  |  |  |  | 11 |  | dispatchable | diesel
BB_pp_MSD | BB_bus_el | 49.502 |  |  |  |  | 33 |  | dispatchable | gas
BB_pp_MSD2 | BB_bus_el | 45.672 |  |  |  |  | 29 |  | dispatchable | gas
BB_pp_LSD | BB_bus_el | 49.502 |  |  |  |  | 78 |  | dispatchable | gas
BB_pp_MSD | BB_bus_el |  |  | irena
BB_pp_LSD | BB_bus_el |  |  | irena
BB_pp_GT | BB_bus_el |  |  | irena
BB_pp_WHP | BB_bus_el
BB_pp_biomass | BB_bus_el | 3.19 |  |  |  |  | 18 |  | dispatchable | biomass | {"summed_max": 12000}
BB_storage_battery_lithium_ion | BB_bus_el | [5 empty] | 155 | 150 | storage | chemical
BB_storage_pumped_hydro | BB_bus_el | [5 empty] | 1e-06 | 3000 | storage | water
BB_excess | BB_bus_el | [7 empty] | excess | electricity
BB_shortage | BB_bus_el | 10000 |  |  |  |  | 100000 |  | shortage | electricity
Additional Information |  |  | capacity
Barbados 2014 Gen set
Steam turbine | BB_pp_ST01 |  | 20
Steam turbine | BB_pp_ST02 |  | 20
Low Speed Diesel | BB_pp_D10 |  | 12.5
Low Speed Diesel | BB_pp_D11 |  | 12.5
Low Speed Diesel | BB_pp_D12 |  | 12.5
Low Speed Diesel | BB_pp_D13 |  | 12.5
Low Speed Diesel | BB_pp_D14 |  | 26
Low Speed Diesel | BB_pp_D15 |  | 26
Waste heat recovery | _ |  | _
Waste heat recovery | _ |  | _
Gas turbine | BB_pp_GT01 |  | 1.5
Gas turbine | BB_pp_GT02 |  | 13
Gas turbine | BB_pp_GT03 |  | 13
Gas turbine | BB_pp_GT04 |  | 20
Gas turbine | BB_pp_GT05 |  | 20
Gas turbine | BB_pp_GT06 |  | 20
reserve cap
model one scenario with reserves
model one scenario without reserves

## 100%- Input Sheet
renewables | name | bus | capacity | units | carrier
| BB_utility_scale_wind | BB_bus_el | 475 | MW | wind | Barbados wind energy report compressed
| BB_utility_scale_solar | BB_bus_el | 234.1 | MW | solar | 100% solar energy for Barbados
| BB_distributed_scale_solar | BB_bus_el | 50 | MW |  | own research
Dispatchable | name | bus | capacity | units | carrier | marginal_cost | units | storage_capacity | type | edge_parameters
Bioenergy | BB_pp_biomass | BB_bus_el | 25 | MW | biomass |  |  |  | dispatchable | {"summed_max": 12000}
| BB_pp_biomass | BB_bus_el
Bioenergy | BB_pp_biogas | BB_bus_el | 26 | MW
Bioenergy | BB_pp_biogas | BB_bus_el | 200 | GW h/a
Waste-to-energy gasification |  | BB_bus_el | 13,6.5 | MW
Waste-to-energy combustion |  | BB_bus_el | 25,10, | MW

## current_pp_dispatch
| Andre queries |  | IRENA Report |  |  | IRP Revised Report
name | VOM costs (Bds$/MW/h) | capacity | capacity | VOM costs | fuel cost (1000 BB/million Btu) | Fuel type | VOM/ Bds$/ MWh | Gross heat rate (Btu/kWh) | Gross heat rate (mmBtu/kWh) | marginal cost fuel ohne VOC (Short-run) | full marginal cost of fuel
BB_pp_SG_LSD_D10 | 28.95 | 11 | 11 | 28.95 | 166.68 | HFO | 33.65 | 8063 | 8.063 | 290.268 | 319.218 | https://www.e-education.psu.edu/ebf483/node/584
BB_pp_SG_LSD_D11 | 28.95 | 11 | 11 | 28.95 | 166.68 | HFO | 33.65 | 8063 | 8.063 | 290.268 | 319.218
BB_pp_SG_LSD_D12 | 28.95 | 11 | 11 | 28.95 | 166.68 | HFO | 33.65 | 8063 | 8.063 | 290.268 | 319.218
BB_pp_SG_LSD_D13 | 28.95 | 11.5 | 11 | 28.95 | 166.68 | HFO | 33.65 | 8063 | 8.063 | 290.268 | 319.218
BB_pp_SG_LSD_D14 | 12.68 | 26 | 26 | 12.68 | 416.6 | HFO | 10.38 | 7456 | 7.456 | 268.416 | 281.096
BB_pp_SG_LSD_D15 | 12.68 | 26 | 26 | 12.68 | 416.6 | HFO | 10.38 | 7456 | 7.456 | 268.416 | 281.096
BB_pp_SG_S1 | 14.62 | 20 | 18 | 14.62 | 230.52 | HFO | 18.13 | 12325 | 12.325 | 443.7 | 458.32
BB_pp_SG_S2 | 14.62 | 20 | 18 | 14.62 | 230.52 | HFO | 18.13 | 12325 | 12.325 | 443.7 | 458.32
BB_pp_SG_SCGT_GT01 | 313.18 | 17.5 | 17 | 313.18 | N/A | N/A | N/A | N/A | N/A | #VALUE! | #VALUE!
BB_pp_GR_SCGT_GT02 | 65.04 | 13 | 11 | 65.04 | 53.64 | Diesel | 52.09 | 13276 | 13.276 | 619.9892 | 685.0292
BB_pp_SW_SCGT_GT03 | 25.25 | 13 | 20 | 25.25 | 41.16 | Diesel | 34.86 | 13276 | 13.276 | 619.9892 | 645.2392
BB_pp_SW_SCGT_GT04 | 72.2 | 20 | 20 | 72.2 | 10.68 | Diesel | 104.65 | 11134 | 11.134 | 519.9578 | 592.1578
BB_pp_SW_SCGT_GT05 | 72.2 | 20 | 20 | 72.2 | 10.68 | Diesel | 104.65 | 11134 | 11.134 | 519.9578 | 592.1578
BB_pp_SW_SCGT_GT06 | 72.2 | 20 | 20 | 72.2 | 10.68 | Diesel | 104.65 | 11134 | 11.134 | 519.9578 | 592.1578
IPR report
HFO-Base -Bds$/mmbtu (LHV)- 2016 | 36
Jet A1 -Base -Bds$/mmbtu (LHV)- 2016 | 54.75
Diesel -Base-Bds$/mmbtu (LHV)- 2016 | 46.7
marginal costs | (VOM+ marginal costs of fuel)
cal fuel cost portion of the short run marginal costs | MC= HR * F
40
Note on A11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: It is retired